## About
RM Reserve Margin
Source: | North American Electrict Reliability Coorporation
2015
2015 Summer Reliability Assessment
http://www.nerc.com/pa/RAPA/ra/Reliability%20Assessments%20DL/2015_Summer_Reliability_Assessment.pdf
p.3, Table 1: Projected Demand, Resources, and Planning Reserve Margins, NERC Reference Margin Level (%)
Notes
The reserve margin (difference between the total generation available and the forecasted peak demand) in the U.S.
dataset doesn't vary by year, but the RM Reserve Margin variable is a time series to support countries that project
changes in future reserve margin by year.

## Sheet1
Planning Reserve Margin Summary
| Metric | Unit | 2022 | 2023 | 2024 | 2025 | 2026 | 2028 | 2030 | 2032 | 2035 | 2040 | 2045
| Peak Load | MW | 45601.64 | 45950.43 | 46607.25 | 46943.98 | 47373.33 | 47801.17 | 48476.22 | 49361.88 | 50955.13 | 53610.54 | 56439.35
| Reserve Margin Requirement | % | 14.9% | 14.9% | 22.55% | 19.95% | 18.32% | 22.55% | 22.55% | 22.55% | 22.55% | 22.55% | 22.55%
| Total Reserve Margin Requirement (incl. Reliability Adjustments) | MW | 53088.8744 | 53690.2641 | 59069.4922 | 58394.304 | 58274.4885 | 61011.3327 | 61983.5647 | 63068.9125 | 65021.389 | 68275.5083 | 71742.1238
| Firm Capacity | MW | 40913.65 | 41004.59 | 37263.97 | 35408.94 | 35339.93 | 36221.24 | 36219.43 | 35983.93 | 35617.47 | 35002.18 | 35921.28
| CCGT | MW | 15805.04 | 15805.04 | 15805.04 | 15805.04 | 15853.43 | 15853.73 | 15853.73 | 15853.73 | 15853.73 | 15853.73 | 16733.08
| Peaker | MW | 8161.21 | 8161.21 | 8161.21 | 7887.27 | 7793.87 | 7793.93 | 7793.94 | 7793.94 | 7793.94 | 7793.94 | 7793.93
| Steam Turbine | MW | 2860.59 | 2860.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHP | MW | 1365.87 | 1341.45 | 1311.45 | 1243.03 | 1177.5 | 1177.5 | 1177.5 | 942 | 588.75 | 0 | 0
| Hydro (small + large) | MW | 5205.53 | 5205.53 | 5205.53 | 5205.53 | 5205.53 | 5205.53 | 5205.13 | 5205.13 | 5205.13 | 5205.13 | 5205.13
| Nuclear | MW | 2915 | 2915 | 1772.84 | 630.67 | 630.67 | 630.67 | 630.67 | 630.67 | 630.67 | 630.67 | 630.67
| Coal | MW | 479 | 479 | 479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | MW | 1214.52 | 1302.62 | 1302.62 | 1302.62 | 1365.6 | 2202.2 | 2202.2 | 2202.2 | 2202.2 | 2202.2 | 2202.2
| Biomass | MW | 636.39 | 662.86 | 678.27 | 698.67 | 698.67 | 721.57 | 720.15 | 720.15 | 720.15 | 720.15 | 720.16
| Shed DR | MW | 2270.5 | 2271.29 | 2548.01 | 2636.11 | 2614.66 | 2636.11 | 2636.11 | 2636.11 | 2622.9 | 2596.36 | 2636.11
| Reliability Adjustment (Imports + BTM Resources) | MW | -692.59 | -893.22 | -1953.81 | -2084.97 | -2220 | -2432.54 | -2577.52 | -2577.52 | -2577.52 | -2577.52 | -2577.52
| Reliability Adjustment (MTR LLT Delay) | MW |  |  |  | -1219 | -2000
| Storage | MW | 4806.71 | 6142.08 | 12745.08 | 13864.29 | 13772.62 | 15420.93 | 15671.72 | 16442.85 | 18674.84 | 22437.74 | 24380.48
| Battery (incl. BTM) | MW | 2908.21 | 4243.58 | 10846.58 | 11965.79 | 11694.45 | 12522.43 | 12772.94 | 13544.07 | 15799.94 | 19621.24 | 21481.7
| Pumped Storage | MW | 1898.5 | 1898.5 | 1898.5 | 1898.5 | 2078.17 | 2898.5 | 2898.78 | 2898.78 | 2874.9 | 2816.5 | 2898.78
| Variable Renewable ELCC (Incl. BTM) | MW | 8898.77 | 8968.26 | 9060.47 | 9121.08 | 9254.66 | 9369.15 | 10092.42 | 10642.14 | 10788 | 11159.54 | 11440.37
| Total Available Capacity | MW | 53926.54 | 55221.71 | 57115.71 | 56309.34 | 56147.21 | 58578.78 | 59406.05 | 60491.4 | 62502.79 | 66021.94 | 69164.61
| Actual Reserve Margin | % | 0.18256 | 0.20177 | 0.22547 | 0.1995 | 0.18521 | 0.22547 | 0.22547 | 0.22547 | 0.22662 | 0.23151 | 0.22547
| Marginal PRM Cost | $/kW-yr. | 1e-05 | 1e-05 | 273.3257 | 527.6391 | 7e-05 | 216.51 | 71.1522 | 21.9354 | 5e-05 | 1e-05 | 74.5621

## RM
(dimensionless) | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reserve Margin | 0.149 | 0.149 | 0.149 | 0.149 | 0.149 | 0.149 | 0.149 | 0.149 | 0.149 | 0.22547 | 0.1995 | 0.18325 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547 | 0.22547