## About
BPHC BAU Pumped Hydro Capacity |  | 2021-04-21
Source: | California BAU Storage
2019-2020 IRP Events and Materials
California Public Utilities Commission
2021 Proposed PSP Ruling RESOLVE Package analysis
https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/2019-20-irp-events-and-materials
Notes
Notes:
gigawatts to megawatts | 1000

## CEC_RESOLVE_38MMT PSP
KEY SUMMARY STATS
| Active Scenario Name | 38MMT_20211005_PSP_LSEplan_2020IEPR_2020IEPRHighEV
| Present Value Portfolio Metrics | Unit
| PV Revenue Requirement | $MM | 840383.0356
| PV Total Resource Cost | $MM | 903514.3513
| Levelized Revenue Requirement | $MM | 45313.6538
| Levelized Total Resource Cost | $MM | 48717.7095
| Levelized Average Rate | cts/kWh | 19.571
| Annual Portfolio Metrics | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Revenue Requirement | $MM/yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37007.8521 | 37413.4874 | 38140.0591 | 38395.9808 | 38442.6154 | 0 | 39922.3871 | 0 | 41062.5009 | 0 | 42197.7137 | 0 | 0 | 44693.2804 | 0 | 0 | 0 | 0 | 49205.7235 | 0 | 0 | 0 | 0 | 54786.8314
| Total Resource Cost | $MM/yr |  | 0 | 0 | 0 | 0 | 0 | 1931.3567 | 2081.6445 | 39204.4293 | 39730.9049 | 40564.6388 | 40921.8962 | 41088.6604 | 2757.0801 | 42781.577 | 2953.7183 | 44104.658 | 3138.7285 | 45431.0411 | 3327.0404 | 3419.8789 | 48205.1123 | 3602.8993 | 3693.0925 | 3782.4005 | 3870.8234 | 53164.0737 | 4044.9921 | 4130.7493 | 4215.622 | 4299.6101 | 59169.5454
| Average Rate | cts/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5782 | 18.464 | 18.6579 | 18.7149 | 18.6785 | 0 | 19.3259 | 0 | 19.7531 | 0 | 19.7834 | 0 | 0 | 19.6712 | 0 | 0 | 0 | 0 | 19.652 | 0 | 0 | 0 | 0 | 20.1642
| Greenhouse Gas Emissions including BTM CHP | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.7187 | 34.8207 | 36.5599 | 36.3013 | 36.3338 | 0 | 33.9739 | 0 | 31.1 | 0 | 28.5868 | 0 | 0 | 24.8171 | 0 | 0 | 0 | 0 | 18.5343 | 0 | 0 | 0 | 0 | 12.2514
| Effective RPS (incl. banked RECs) | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47254 | 0.51511 | 0.56187 | 0.64633 | 0.67718 | 0 | 0.75899 | 0 | 0.68523 | 0 | 0.72585 | 0 | 0 | 0.77293 | 0 | 0 | 0 | 0 | 0.85094 | 0 | 0 | 0 | 0 | 0.97082
| Renewable Curtailment incl. Storage Losses | % of RPS Gen. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03696 | 0.054575 | 0.04637 | 0.057054 | 0.055358 | 0 | 0.060794 | 0 | 0.075658 | 0 | 0.088295 | 0 | 0 | 0.10612 | 0 | 0 | 0 | 0 | 0.12944 | 0 | 0 | 0 | 0 | 0.20551
Selected Resource Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Gas | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39 | 0 | 0.39 | 0 | 0.39 | 0 | 0 | 0.39 | 0 | 0 | 0 | 0 | 0.39 | 0 | 0 | 0 | 0 | 926.02
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.18 | 65.32 | 83.44 | 107.44 | 107.44 | 0 | 134.39 | 0 | 134.39 | 0 | 134.39 | 0 | 0 | 134.39 | 0 | 0 | 0 | 0 | 134.39 | 0 | 0 | 0 | 0 | 134.39
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 114 | 114 | 114 | 184 | 0 | 1159.71 | 0 | 1159.71 | 0 | 1159.71 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1521.41
| Hydro (Small) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1696.75 | 1718.86 | 2048.7 | 3531.35 | 3531.35 | 0 | 3531.35 | 0 | 3531.35 | 0 | 3531.35 | 0 | 0 | 3531.35 | 0 | 0 | 0 | 0 | 3531.35 | 0 | 0 | 0 | 0 | 5031.27
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0.06 | 0 | 1500.03 | 0 | 1500.03 | 0 | 0 | 1500.03 | 0 | 0 | 0 | 0 | 1970.2 | 0 | 0 | 0 | 0 | 1970.2
| Offshore Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 195 | 0 | 195.01 | 0 | 1707.57 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3093.74 | 6549.04 | 7750.39 | 11000.01 | 11000.01 | 0 | 11396.84 | 0 | 14341.63 | 0 | 17505.51 | 0 | 0 | 26977.14 | 0 | 0 | 0 | 0 | 43716.46 | 0 | 0 | 0 | 0 | 72340.25
| Customer Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Battery Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2564.54 | 4603.5 | 9811.41 | 11317.12 | 11317.13 | 0 | 12078.13 | 0 | 12394.53 | 0 | 13570.67 | 0 | 0 | 17647.85 | 0 | 0 | 0 | 0 | 28528.34 | 0 | 0 | 0 | 0 | 40706.07
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196 | 0 | 1000 | 0 | 1000.28 | 0 | 1000.28 | 0 | 0 | 1000.28 | 0 | 0 | 0 | 0 | 1000.28 | 0 | 0 | 0 | 0 | 1000.28
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151.3 | 151.3 | 352.56 | 440.66 | 440.66 | 0 | 440.66 | 0 | 440.66 | 0 | 440.66 | 0 | 0 | 440.66 | 0 | 0 | 0 | 0 | 440.66 | 0 | 0 | 0 | 0 | 440.66
| Gas Capacity Not Retained | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Storage + DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2715.84 | 4754.8 | 10163.97 | 11757.78 | 11953.79 | 0 | 13518.79 | 0 | 13835.47 | 0 | 15011.61 | 0 | 0 | 19088.79 | 0 | 0 | 0 | 0 | 29969.28 | 0 | 0 | 0 | 0 | 42147.01
| Total Resources (Renewables + Storage + DR) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7554.51 | 13202.02 | 20160.5 | 26510.58 | 26896.62 | 0 | 29936.53 | 0 | 34697.98 | 0 | 40550.56 | 0 | 0 | 54119.88 | 0 | 0 | 0 | 0 | 82209.86 | 0 | 0 | 0 | 0 | 125798.63
| Selected Battery Duration |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Pumped Hydro | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.0036 | 0 | 12.0004 | 0 | 12 | 0 | 12 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 12
| Li Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3956 | 4.5024 | 4.1753 | 4.1861 | 4.1861 | 0 | 4.1758 | 0 | 4.177 | 0 | 4.3277 | 0 | 0 | 6.1669 | 0 | 0 | 0 | 0 | 7.0318 | 0 | 0 | 0 | 0 | 7.8753
| BTM Li Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Flow Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2.4286 | 4.1667 | 4.1667 | 4.1667 | 0 | 3.9231 | 0 | 3.9231 | 0 | 4.3846 | 0 | 0 | 4.3846 | 0 | 0 | 0 | 0 | 4.3846 | 0 | 0 | 0 | 0 | 4.3846
Note: Optimized duration is a cumulative value reflecting all power and energy capacity built through the reported year.
Total Resource Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Nuclear | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2935 | 2935 | 1785 | 635 | 635 | 0 | 635 | 0 | 635 | 0 | 635 | 0 | 0 | 635 | 0 | 0 | 0 | 0 | 635 | 0 | 0 | 0 | 0 | 635
| CHP | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2194.79 | 2155.54 | 2107.34 | 1997.4 | 1892.1 | 0 | 1892.1 | 0 | 1892.1 | 0 | 1513.68 | 0 | 0 | 946.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27967.09 | 27967.09 | 25084.2 | 24791.48 | 24742.13 | 0 | 24742.52 | 0 | 24742.52 | 0 | 24742.52 | 0 | 0 | 24742.52 | 0 | 0 | 0 | 0 | 24742.52 | 0 | 0 | 0 | 0 | 25668.15
| Coal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 480 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro (Large) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7073.36 | 7073.36 | 7073.36 | 7073.36 | 7073.36 | 0 | 7073.36 | 0 | 7072.77 | 0 | 7072.77 | 0 | 0 | 7072.77 | 0 | 0 | 0 | 0 | 7072.77 | 0 | 0 | 0 | 0 | 7072.77
| Hydro (NW scheduled imports) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2851.77 | 2851.77 | 2851.77 | 2851.77 | 2851.77 | 0 | 2851.77 | 0 | 2851.77 | 0 | 2851.77 | 0 | 0 | 2851.77 | 0 | 0 | 0 | 0 | 2851.77 | 0 | 0 | 0 | 0 | 2851.77
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 843.8 | 874.94 | 893.06 | 917.06 | 917.06 | 0 | 944.01 | 0 | 942.11 | 0 | 942.11 | 0 | 0 | 942.11 | 0 | 0 | 0 | 0 | 942.11 | 0 | 0 | 0 | 0 | 942.11
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1601.44 | 1701.44 | 1701.44 | 1701.44 | 1771.44 | 0 | 2747.15 | 0 | 2747.15 | 0 | 2747.15 | 0 | 0 | 2747.15 | 0 | 0 | 0 | 0 | 2747.15 | 0 | 0 | 0 | 0 | 3108.85
| Hydro (Small) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958.33 | 958.33 | 958.33 | 958.33 | 958.33 | 0 | 958.33 | 0 | 958.33 | 0 | 958.33 | 0 | 0 | 958.33 | 0 | 0 | 0 | 0 | 958.33 | 0 | 0 | 0 | 0 | 958.33
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8666.87 | 8688.98 | 9018.82 | 10501.47 | 10501.47 | 0 | 10501.47 | 0 | 10501.47 | 0 | 10501.47 | 0 | 0 | 10501.47 | 0 | 0 | 0 | 0 | 10501.47 | 0 | 0 | 0 | 0 | 12001.39
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0.06 | 0 | 1500.03 | 0 | 1500.03 | 0 | 0 | 1500.03 | 0 | 0 | 0 | 0 | 1970.2 | 0 | 0 | 0 | 0 | 1970.2
| Offshore Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 195 | 0 | 195.01 | 0 | 1707.57 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18847.93 | 22965.83 | 24167.18 | 27416.8 | 27416.8 | 0 | 27813.63 | 0 | 30758.42 | 0 | 33922.3 | 0 | 0 | 43393.93 | 0 | 0 | 0 | 0 | 60133.25 | 0 | 0 | 0 | 0 | 88757.04
| Customer Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12710.97 | 13991.86 | 15256.98 | 16483.22 | 17636.07 | 0 | 19753.25 | 0 | 21705.79 | 0 | 23794.82 | 0 | 0 | 26928.37 | 0 | 0 | 0 | 0 | 32150.94 | 0 | 0 | 0 | 0 | 37373.52
| Battery Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5160.24 | 7563.37 | 13055.18 | 14769.37 | 14983.48 | 0 | 16187.85 | 0 | 16965.84 | 0 | 18141.98 | 0 | 0 | 22219.16 | 0 | 0 | 0 | 0 | 33099.65 | 0 | 0 | 0 | 0 | 45277.38
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1898.5 | 1898.5 | 1898.5 | 1898.5 | 2094.5 | 0 | 2898.5 | 0 | 2898.78 | 0 | 2898.78 | 0 | 0 | 2898.78 | 0 | 0 | 0 | 0 | 2898.78 | 0 | 0 | 0 | 0 | 2898.78
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2346.75 | 2346.75 | 2548.01 | 2636.11 | 2636.11 | 0 | 2636.11 | 0 | 2636.11 | 0 | 2636.11 | 0 | 0 | 2636.11 | 0 | 0 | 0 | 0 | 2636.11 | 0 | 0 | 0 | 0 | 2636.11
| Shift DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Load | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Battery Storage Penetration | % of peak load |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11316 | 0.1646 | 0.28011 | 0.31462 | 0.31629 | 0 | 0.33865 | 0 | 0.34998 | 0 | 0.36753 | 0 | 0 | 0.43605 | 0 | 0 | 0 | 0 | 0.61741 | 0 | 0 | 0 | 0 | 0.80223
| Gas capacity not retained (total, cumulative) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292.72 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47 | 392.47
| Gas capacity not retained (economic, incremental) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas capacity not retained (economic, cumulative) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Energy Balance
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| CHP | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10401.3161 | 10215.3078 | 9986.8804 | 9465.8478 | 8966.8436 | 0 | 8966.8436 | 0 | 8966.8436 | 0 | 7173.4709 | 0 | 0 | 4483.4078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23611.1228 | 23611.1228 | 14359.7459 | 5108.369 | 5108.369 | 0 | 5108.369 | 0 | 5108.369 | 0 | 5108.369 | 0 | 0 | 5108.369 | 0 | 0 | 0 | 0 | 5108.369 | 0 | 0 | 0 | 0 | 5108.369
| Hydro | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18705.762 | 18705.7615 | 18705.7627 | 18705.7645 | 18705.7612 | 0 | 18705.7639 | 0 | 18704.197 | 0 | 18704.1995 | 0 | 0 | 18704.2007 | 0 | 0 | 0 | 0 | 18704.204 | 0 | 0 | 0 | 0 | 18704.1959
| Hydro (NW scheduled imports) | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11492.5068 | 11384.1718 | 11429.3951 | 11347.4712 | 11331.2296 | 0 | 11291.1304 | 0 | 11292.6104 | 0 | 11109.3281 | 0 | 0 | 11081.5292 | 0 | 0 | 0 | 0 | 10477.3456 | 0 | 0 | 0 | 0 | 8318.7177
| Gas | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50567.064 | 43452.0058 | 48246.6969 | 45889.5078 | 46272.8916 | 0 | 39849.0344 | 0 | 32125.061 | 0 | 30925.9654 | 0 | 0 | 31694.5928 | 0 | 0 | 0 | 0 | 31380.3104 | 0 | 0 | 0 | 0 | 27966.9782
| Coal | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0867 | 1.6818 | 1.9261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pipeline Biogas | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Renewables | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110382.4746 | 123645.4503 | 131621.9329 | 146171.9407 | 149803.7445 | 0 | 162359.7099 | 0 | 178202.3466 | 0 | 195202.1394 | 0 | 0 | 225588.1093 | 0 | 0 | 0 | 0 | 279140.1447 | 0 | 0 | 0 | 0 | 346903.7758
| Storage Losses | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1555.4676 | -2452.8012 | -3272.7112 | -3976.7132 | -4129.9831 | 0 | -4811.4787 | 0 | -5554.8521 | 0 | -6272.4362 | 0 | 0 | -8864.0529 | 0 | 0 | 0 | 0 | -13911.5702 | 0 | 0 | 0 | 0 | -21270.8808
| Curtailment | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1470.8382 | -2838.1891 | -1307.5113 | -2532.5198 | -2206.143 | 0 | -2682.2518 | 0 | -4859.4368 | 0 | -7310.7398 | 0 | 0 | -10217.083 | 0 | 0 | 0 | 0 | -15489.7377 | 0 | 0 | 0 | 0 | -42655.1613
| Imports (unspecified) | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18936.6982 | 21262.8223 | 21689.0169 | 23722.1768 | 24011.4912 | 0 | 24402.5774 | 0 | 24668.2604 | 0 | 23535.7232 | 0 | 0 | 19890.8947 | 0 | 0 | 0 | 0 | 15369.1863 | 0 | 0 | 0 | 0 | 3631.8028
| Exports | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2566.8973 | -3705.8961 | -2772.33 | -3269.4993 | -3977.9887 | 0 | -4902.6751 | 0 | -7067.8092 | 0 | -8902.5777 | 0 | 0 | -9040.0296 | 0 | 0 | 0 | 0 | -12100.7151 | 0 | 0 | 0 | 0 | -21392.4829
| Load | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 238999.0063 | 245080.9701 | 249400.5902 | 252484.1977 | 255344.0258 | 0 | 260112.9323 | 0 | 265131.851 | 0 | 274919.5186 | 0 | 0 | 295851.6159 | 0 | 0 | 0 | 0 | 330738.4153 | 0 | 0 | 0 | 0 | 363495.3387
[11 empty] | 241.0727 | 246.9873 | 251.4611 | 253.9018 | 257.8642 | 0 | 263.1897 | 0 | 268.6534 | 0 | 278.176 | 0 | 0 | 297.47 | 0 | 0 | 0 | 0 | 330.7783 | 0 | 0 | 0 | 0 | 346.7078
Cost Summary
| Revenue Requirement and TRC | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Non-Modeled Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 29787.9624 | 31520.7142 | 32729.3321 | 32777.3587 | 32736.3176 | 32524.7906 | 32413.5618 | 32817.3651 | 33247.1811 | 33726.552 | 34219.3709 | 34634.2862 | 35059.9417 | 35496.5477 | 35944.3196 | 36403.4787 | 36874.2518 | 37356.8716 | 37851.5764 | 38358.6111 | 38878.2262 | 39410.6789 | 39956.2327 | 40515.1578 | 41087.7308 | 41674.2356
| Non-Modeled Costs (Scenario Specific) | $MM |  | 0 | 0 | 0 | 0 | 0 | -0.0031458 | 85.9548 | 229.9507 | 257.0927 | 277.4599 | 290.0689 | 302.8392 | 313.611 | 323.3287 | 334.4841 | 346.9399 | 357.0681 | 369.8213 | 364.583 | 359.0799 | 353.3035 | 347.2451 | 340.8957 | 334.2461 | 327.2868 | 320.0081 | 312.4 | 304.4522 | 296.1543 | 287.4953 | 231.6623
| Baseline Thermal Fleet Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 360.8085 | 360.8085 | 326.1241 | 321.7849 | 320.9126 | 0 | 320.9126 | 0 | 320.9126 | 0 | 320.9126 | 0 | 0 | 320.9126 | 0 | 0 | 0 | 0 | 320.9126 | 0 | 0 | 0 | 0 | 320.9126
| New Renewables Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 520.9742 | 826.6311 | 957.4136 | 1368.3871 | 1426.9015 | 0 | 1980.8788 | 0 | 2527.9742 | 0 | 3004.5034 | 0 | 0 | 3594.2977 | 0 | 0 | 0 | 0 | 4699.4819 | 0 | 0 | 0 | 0 | 6792.9459
| New Storage Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.5105 | 588.3546 | 1139.0124 | 1293.4683 | 1344.837 | 0 | 1607.5902 | 0 | 1647.5188 | 0 | 1764.3343 | 0 | 0 | 2467.2723 | 0 | 0 | 0 | 0 | 3791.4784 | 0 | 0 | 0 | 0 | 5383.1231
| New Thermal Fleet Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00024018 | 0.00024633 | 0.00025216 | 0.00025747 | 0.00026233 | 0 | 0.043061 | 0 | 0.043071 | 0 | 0.043077 | 0 | 0 | 0.043083 | 0 | 0 | 0 | 0 | 0.043102 | 0 | 0 | 0 | 0 | 97.2473
| New DR Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2829 | 12.2829 | 28.6216 | 35.7742 | 35.7742 | 0 | 35.7742 | 0 | 35.7742 | 0 | 35.7742 | 0 | 0 | 35.7742 | 0 | 0 | 0 | 0 | 35.7742 | 0 | 0 | 0 | 0 | 35.7743
| New CAISO Transmission Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.19e-06 | 1.539e-05 | 1.583e-05 | 1.714e-05 | 2.004e-05 | 0 | 4.3977 | 0 | 4.3984 | 0 | 5.3315 | 0 | 0 | 8.9154 | 0 | 0 | 0 | 0 | 12.8907 | 0 | 0 | 0 | 0 | 304.9404
| Total Operating Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2801.9931 | 2590.9586 | 2675.1095 | 2561.7065 | 2597.7888 | 0 | 2402.2807 | 0 | 1959.5689 | 0 | 1637.0515 | 0 | 0 | 1509.2829 | 0 | 0 | 0 | 0 | 1146.9082 | 0 | 0 | 0 | 0 | -54.01
| Total Revenue Requirement | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37007.8521 | 37413.4874 | 38140.0591 | 38395.9808 | 38442.6154 | 0 | 39922.3871 | 0 | 41062.5009 | 0 | 42197.7137 | 0 | 0 | 44693.2804 | 0 | 0 | 0 | 0 | 49205.7235 | 0 | 0 | 0 | 0 | 54786.8314
| Customer Costs (Scenario Specific) | $MM |  | 0 | 0 | 0 | 0 | 0 | 1931.3567 | 2081.6445 | 2196.5772 | 2317.4175 | 2424.5797 | 2525.9154 | 2646.045 | 2757.0801 | 2859.1899 | 2953.7183 | 3042.1571 | 3138.7285 | 3233.3274 | 3327.0404 | 3419.8789 | 3511.8318 | 3602.8993 | 3693.0925 | 3782.4005 | 3870.8234 | 3958.3502 | 4044.9921 | 4130.7493 | 4215.622 | 4299.6101 | 4382.714
| Total Resource Cost | $MM |  | 0 | 0 | 0 | 0 | 0 | 1931.3567 | 2081.6445 | 39204.4293 | 39730.9049 | 40564.6388 | 40921.8962 | 41088.6604 | 2757.0801 | 42781.577 | 2953.7183 | 44104.658 | 3138.7285 | 45431.0411 | 3327.0404 | 3419.8789 | 48205.1123 | 3602.8993 | 3693.0925 | 3782.4005 | 3870.8234 | 53164.0737 | 4044.9921 | 4130.7493 | 4215.622 | 4299.6101 | 59169.5454
| Total Retail Sales | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199200.6257 | 202629.3792 | 204417.5998 | 205162.2701 | 205812.4083 | 0 | 206574.8483 | 0 | 207879.0127 | 0 | 213298.8568 | 0 | 0 | 227201.8693 | 0 | 0 | 0 | 0 | 250385.4403 | 0 | 0 | 0 | 0 | 271703.2948
| Average Rate (cts/kWh) | cts/kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5782 | 18.464 | 18.6579 | 18.7149 | 18.6785 | 0 | 19.3259 | 0 | 19.7531 | 0 | 19.7834 | 0 | 0 | 19.6712 | 0 | 0 | 0 | 0 | 19.652 | 0 | 0 | 0 | 0 | 20.1642
| Residential Rev Req at 40% Cost Allocatoin | $MM | [8 empty] | 14803.1409 | 14965.395 | 15256.0236 | 15358.3923 | 15377.0462 | 0 | 15968.9549 | 0 | 16425.0004 | 0 | 16879.0855 | 0 | 0 | 17877.3122 | 0 | 0 | 0 | 0 | 19682.2894 | 0 | 0 | 0 | 0 | 21914.7325
| CAISO Residential Sales | GWh/yr | [8 empty] | 62433.7724 | 63819.5885 | 64649.9718 | 65084.9337 | 65520.028 | 65795.6416 | 66147.6527 | 66521.8953 | 67054.2752 | 66722.5465 | 67213.9454 | 67851.201 | 68488.4566 | 69125.7123 | 69762.9679 | 70400.2235 | 71037.4791 | 71674.7348 | 72311.9904 | 72949.246 | 73586.5016 | 74223.7573 | 74861.0129 | 76613.1096
| CAISO Average Residential Rate | $/kWh | [8 empty] | 0.2371 | 0.2345 | 0.23598 | 0.23597 | 0.23469 | 0 | 0.24141 | 0 | 0.24495 | 0 | 0.25112 | 0 | 0 | 0.25862 | 0 | 0 | 0 | 0 | 0.27219 | 0 | 0 | 0 | 0 | 0.28604
| Residential Monthly Bill at 500 kWh/mo | $/mo | [8 empty] | 118.5507 | 117.2477 | 117.9894 | 117.9873 | 117.3462 | 0 | 120.7069 | 0 | 122.4754 | 0 | 125.5624 | 0 | 0 | 129.3101 | 0 | 0 | 0 | 0 | 136.0928 | 0 | 0 | 0 | 0 | 143.0221
| Residential Monthly Bill at 600 kWh/mo | $/mo | [8 empty] | 142.2609 | 140.6972 | 141.5873 | 141.5848 | 140.8154 | 0 | 144.8483 | 0 | 146.9705 | 0 | 150.6749 | 0 | 0 | 155.1722 | 0 | 0 | 0 | 0 | 163.3114 | 0 | 0 | 0 | 0 | 171.6265
| Operating Cost Breakdown | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Variable Operating Costs for CAISO Resources | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2663.9967 | 2401.111 | 2486.5729 | 2303.8535 | 2330.6721 | 0 | 2141.4713 | 0 | 1892.0628 | 0 | 1839.2169 | 0 | 0 | 1821.695 | 0 | 0 | 0 | 0 | 1708.3561 | 0 | 0 | 0 | 0 | 1725.1822
| Market Purchases (incl Carbon Allowance) | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 676.4114 | 757.4615 | 739.4391 | 828.1369 | 854.639 | 0 | 889.4079 | 0 | 922.1017 | 0 | 925.7297 | 0 | 0 | 869.4839 | 0 | 0 | 0 | 0 | 752.7917 | 0 | 0 | 0 | 0 | 203.2174
| Market Revenues | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -66.454 | -94.7916 | -74.0176 | -88.3031 | -99.4054 | 0 | -128.1901 | 0 | -178.7828 | 0 | -234.4392 | 0 | 0 | -242.9386 | 0 | 0 | 0 | 0 | -360.7662 | 0 | 0 | 0 | 0 | -734.4418
| Energy Credit for OOS Renewables Contracted to CAISO | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -471.9611 | -472.8223 | -476.8849 | -481.9808 | -488.117 | 0 | -500.4084 | 0 | -675.8128 | 0 | -893.4559 | 0 | 0 | -938.9574 | 0 | 0 | 0 | 0 | -953.4733 | 0 | 0 | 0 | 0 | -1247.9678
| Total CAISO Operating Cost | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2801.9931 | 2590.9586 | 2675.1095 | 2561.7065 | 2597.7888 | 0 | 2402.2807 | 0 | 1959.5689 | 0 | 1637.0515 | 0 | 0 | 1509.2829 | 0 | 0 | 0 | 0 | 1146.9082 | 0 | 0 | 0 | 0 | -54.01
RPS Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| RPS Target | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3854 | 0.4126 | 0.43971 | 0.46681 | 0.49387 | 0 | 0.54818 | 0 | 0.60279 | 0 | 0.62244 | 0 | 0 | 0.68219 | 0 | 0 | 0 | 0 | 0.77924 | 0 | 0 | 0 | 0 | 0.87292
| RPS-Eligible Generation (w/o banked RECs) | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47254 | 0.51511 | 0.53679 | 0.59314 | 0.59746 | 0 | 0.63443 | 0 | 0.68523 | 0 | 0.72585 | 0 | 0 | 0.77293 | 0 | 0 | 0 | 0 | 0.85094 | 0 | 0 | 0 | 0 | 0.97082
| Banked RECs | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02508 | 0.053189 | 0.079717 | 0 | 0.12456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Effective RPS (with banked RECs) | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47254 | 0.51511 | 0.56187 | 0.64633 | 0.67718 | 0 | 0.75899 | 0 | 0.68523 | 0 | 0.72585 | 0 | 0 | 0.77293 | 0 | 0 | 0 | 0 | 0.85094 | 0 | 0 | 0 | 0 | 0.97082
| Renewable Curtailment (scheduled and subhourly) | % of RPS Gen. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019123 | 0.029783 | 0.014921 | 0.02307 | 0.020285 | 0 | 0.022639 | 0 | 0.035684 | 0 | 0.04727 | 0 | 0 | 0.056538 | 0 | 0 | 0 | 0 | 0.067777 | 0 | 0 | 0 | 0 | 0.13607
| Renewable Curtailment incl. Storage Losses | % of RPS Gen. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03696 | 0.054575 | 0.04637 | 0.057054 | 0.055358 | 0 | 0.060794 | 0 | 0.075658 | 0 | 0.088295 | 0 | 0 | 0.10612 | 0 | 0 | 0 | 0 | 0.12944 | 0 | 0 | 0 | 0 | 0.20551
| Marginal RPS Cost | $/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPS Renewables excl. Pipeline Biogas | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89508.993 | 100354.1249 | 105897.2325 | 118141.0672 | 119581.1408 | 0 | 128101.1766 | 0 | 140189.4669 | 0 | 153268.9768 | 0 | 0 | 177660.6633 | 0 | 0 | 0 | 0 | 221299.7454 | 0 | 0 | 0 | 0 | 279227.434
| Pipeline Biogas Generation | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nonmodeled RPS Renewables | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2847.6088 | 2847.6088 | 2847.6088 | 2847.6088 | 2847.6088 | 0 | 2847.6088 | 0 | 2847.6088 | 0 | 2847.6088 | 0 | 0 | 2544.0748 | 0 | 0 | 0 | 0 | 1307.9556 | 0 | 0 | 0 | 0 | 1307.9556
| SB100% | % of Retail Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72258 | 0.75865 | 0.73223 | 0.74003 | 0.74364 | 0 | 0.7784 | 0 | 0.82626 | 0 | 0.86082 | 0 | 0 | 0.89774 | 0 | 0 | 0 | 0 | 0.95911 | 0 | 0 | 0 | 0 | 1.0588
Greenhouse Gas Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| GHG Emissions Target | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.9746 | 44.9902 | 43.0059 | 41.0216 | 39.0373 | 0 | 35.0686 | 0 | 31.1 | 0 | 28.5869 | 0 | 0 | 24.8172 | 0 | 0 | 0 | 0 | 18.5343 | 0 | 0 | 0 | 0 | 12.2515
| CAISO BTM CHP Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9888 | 4.9462 | 4.9039 | 4.8621 | 4.8207 | 0 | 4.7391 | 0 | 4.6591 | 0 | 3.7273 | 0 | 0 | 2.3295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GHG Emissions Target, net of BTM CHP | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.9857 | 40.0441 | 38.102 | 36.1595 | 34.2166 | 0 | 30.3296 | 0 | 26.4409 | 0 | 24.8596 | 0 | 0 | 22.4876 | 0 | 0 | 0 | 0 | 18.5343 | 0 | 0 | 0 | 0 | 12.2515
| CAISO Generator Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.625 | 20.774 | 22.3731 | 21.2862 | 21.2362 | 0 | 18.7905 | 0 | 15.8829 | 0 | 14.7863 | 0 | 0 | 13.9743 | 0 | 0 | 0 | 0 | 11.9563 | 0 | 0 | 0 | 0 | 10.697
| Import Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1049 | 9.1005 | 9.2829 | 10.1531 | 10.2769 | 0 | 10.4443 | 0 | 10.558 | 0 | 10.0733 | 0 | 0 | 8.5133 | 0 | 0 | 0 | 0 | 6.578 | 0 | 0 | 0 | 0 | 1.5544
| Total CAISO Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.7187 | 34.8207 | 36.5599 | 36.3013 | 36.3338 | 0 | 33.9739 | 0 | 31.1 | 0 | 28.5868 | 0 | 0 | 24.8171 | 0 | 0 | 0 | 0 | 18.5343 | 0 | 0 | 0 | 0 | 12.2514
| Marginal GHG Cost | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.88 | 0 | 86.55 | 0 | 0 | 93.92 | 0 | 0 | 0 | 0 | 100.59 | 0 | 0 | 0 | 0 | 269.38
| CARB Floor Carbon Price | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 16.7767 | 17.6479 | 18.5472 | 19.5177 | 20.5286 | 21.6027 | 22.7423 | 23.9495 | 25.2247 | 26.5581 | 27.9576 | 29.4373 | 30.9954 | 32.6359 | 34.3632 | 36.182 | 38.097 | 40.1134 | 42.2365 | 44.472 | 46.8258 | 49.3042 | 51.9137 | 54.6614 | 57.5545 | 60.6007
| Total GHG Abatement Cost | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 16.7767 | 17.6479 | 18.5472 | 19.5177 | 20.5286 | 21.6027 | 22.7423 | 23.9495 | 25.2247 | 26.5581 | 65.8376 | 29.4373 | 117.5454 | 32.6359 | 34.3632 | 130.102 | 38.097 | 40.1134 | 42.2365 | 44.472 | 147.4158 | 49.3042 | 51.9137 | 54.6614 | 57.5545 | 329.9807
| Total RESOLVE Footprint Emissions (most of WECC) | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128.021 | 129.1651 | 135.0893 | 134.3537 | 133.4308 | 0 | 129.8113 | 0 | 129.8711 | 0 | 131.6081 | 0 | 0 | 137.8215 | 0 | 0 | 0 | 0 | 146.9124 | 0 | 0 | 0 | 0 | 142.3868
Planning Reserve Margin Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Peak Load | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45601.64 | 45950.43 | 46607.25 | 46943.98 | 47373.33 | 0 | 47801.17 | 0 | 48476.22 | 0 | 49361.88 | 0 | 0 | 50955.13 | 0 | 0 | 0 | 0 | 53610.54 | 0 | 0 | 0 | 0 | 56439.35
| Reserve Margin Requirement | % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.149 | 0.149 | 0.22547 | 0.1995 | 0.18325 | 0 | 0.22547 | 0 | 0.22547 | 0 | 0.22547 | 0 | 0 | 0.22547 | 0 | 0 | 0 | 0 | 0.22547 | 0 | 0 | 0 | 0 | 0.22547
| Total Reserve Margin Requirement (incl. Reliability Adjustments) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53088.8744 | 53690.2641 | 59069.4922 | 58394.304 | 58274.4885 | 2000 | 61011.3327 | 0 | 61983.5647 | 0 | 63068.9125 | 0 | 0 | 65021.389 | 0 | 0 | 0 | 0 | 68275.5083 | 0 | 0 | 0 | 0 | 71742.1238
| Firm Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40913.65 | 41004.59 | 37263.97 | 35408.94 | 35339.93 | 0 | 36221.24 | 0 | 36219.43 | 0 | 35983.93 | 0 | 0 | 35617.47 | 0 | 0 | 0 | 0 | 35002.18 | 0 | 0 | 0 | 0 | 35921.28
| CCGT | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15805.04 | 15805.04 | 15805.04 | 15805.04 | 15853.43 | 0 | 15853.73 | 0 | 15853.73 | 0 | 15853.73 | 0 | 0 | 15853.73 | 0 | 0 | 0 | 0 | 15853.73 | 0 | 0 | 0 | 0 | 16733.08
| Peaker | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8161.21 | 8161.21 | 8161.21 | 7887.27 | 7793.87 | 0 | 7793.93 | 0 | 7793.94 | 0 | 7793.94 | 0 | 0 | 7793.94 | 0 | 0 | 0 | 0 | 7793.94 | 0 | 0 | 0 | 0 | 7793.93
| Steam Turbine | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2860.59 | 2860.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHP | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.87 | 1341.45 | 1311.45 | 1243.03 | 1177.5 | 0 | 1177.5 | 0 | 1177.5 | 0 | 942 | 0 | 0 | 588.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro (small + large) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5205.53 | 5205.53 | 5205.53 | 5205.53 | 5205.53 | 0 | 5205.53 | 0 | 5205.13 | 0 | 5205.13 | 0 | 0 | 5205.13 | 0 | 0 | 0 | 0 | 5205.13 | 0 | 0 | 0 | 0 | 5205.13
| Nuclear | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2915 | 2915 | 1772.84 | 630.67 | 630.67 | 0 | 630.67 | 0 | 630.67 | 0 | 630.67 | 0 | 0 | 630.67 | 0 | 0 | 0 | 0 | 630.67 | 0 | 0 | 0 | 0 | 630.67
| Coal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 479 | 479 | 479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1214.52 | 1302.62 | 1302.62 | 1302.62 | 1365.6 | 0 | 2202.2 | 0 | 2202.2 | 0 | 2202.2 | 0 | 0 | 2202.2 | 0 | 0 | 0 | 0 | 2202.2 | 0 | 0 | 0 | 0 | 2202.2
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 636.39 | 662.86 | 678.27 | 698.67 | 698.67 | 0 | 721.57 | 0 | 720.15 | 0 | 720.15 | 0 | 0 | 720.15 | 0 | 0 | 0 | 0 | 720.15 | 0 | 0 | 0 | 0 | 720.16
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2270.5 | 2271.29 | 2548.01 | 2636.11 | 2614.66 | 0 | 2636.11 | 0 | 2636.11 | 0 | 2636.11 | 0 | 0 | 2622.9 | 0 | 0 | 0 | 0 | 2596.36 | 0 | 0 | 0 | 0 | 2636.11
| Reliability Adjustment (Imports + BTM Resources) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -692.59 | -893.22 | -1953.81 | -2084.97 | -2220 | -2000 | -2432.54 | 0 | -2577.52 | 0 | -2577.52 | 0 | 0 | -2577.52 | 0 | 0 | 0 | 0 | -2577.52 | 0 | 0 | 0 | 0 | -2577.52
| Reliability Adjustment (MTR LLT Delay) | [9 empty] | 0 | 0 | 0 | -1219 | -2000 | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4806.71 | 6142.08 | 12745.08 | 13864.29 | 13772.62 | 0 | 15420.93 | 0 | 15671.72 | 0 | 16442.85 | 0 | 0 | 18674.84 | 0 | 0 | 0 | 0 | 22437.74 | 0 | 0 | 0 | 0 | 24380.48
| Battery (incl. BTM) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2908.21 | 4243.58 | 10846.58 | 11965.79 | 11694.45 | 0 | 12522.43 | 0 | 12772.94 | 0 | 13544.07 | 0 | 0 | 15799.94 | 0 | 0 | 0 | 0 | 19621.24 | 0 | 0 | 0 | 0 | 21481.7
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1898.5 | 1898.5 | 1898.5 | 1898.5 | 2078.17 | 0 | 2898.5 | 0 | 2898.78 | 0 | 2898.78 | 0 | 0 | 2874.9 | 0 | 0 | 0 | 0 | 2816.5 | 0 | 0 | 0 | 0 | 2898.78
| Variable Renewable ELCC (Incl. BTM) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8898.77 | 8968.26 | 9060.47 | 9121.08 | 9254.66 | 0 | 9369.15 | 0 | 10092.42 | 0 | 10642.14 | 0 | 0 | 10788 | 0 | 0 | 0 | 0 | 11159.54 | 0 | 0 | 0 | 0 | 11440.37
| Total Available Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53926.54 | 55221.71 | 57115.71 | 56309.34 | 56147.21 | -2000 | 58578.78 | 0 | 59406.05 | 0 | 60491.4 | 0 | 0 | 62502.79 | 0 | 0 | 0 | 0 | 66021.94 | 0 | 0 | 0 | 0 | 69164.61
| Actual Reserve Margin | % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18256 | 0.20177 | 0.22547 | 0.1995 | 0.18521 | 0 | 0.22547 | 0 | 0.22547 | 0 | 0.22547 | 0 | 0 | 0.22662 | 0 | 0 | 0 | 0 | 0.23151 | 0 | 0 | 0 | 0 | 0.22547
| Marginal PRM Cost | $/kW-yr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-05 | 1e-05 | 273.3257 | 527.6391 | 7e-05 | 0 | 216.51 | 0 | 71.1522 | 0 | 21.9354 | 0 | 0 | 5e-05 | 0 | 0 | 0 | 0 | 1e-05 | 0 | 0 | 0 | 0 | 74.5621
| Marginal Solar ELCC | % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023057 | 0.019283 | 0.019058 | 0.019035 | 0.019017 | 0 | 0.018993 | 0 | 0.018962 | 0 | 0.021963 | 0 | 0 | 0.020744 | 0 | 0 | 0 | 0 | 0.019059 | 0 | 0 | 0 | 0 | 0.014985
| Marginal Wind ELCC | % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31978 | 0.32113 | 0.31739 | 0.31699 | 0.3167 | 0 | 0.3163 | 0 | 0.31578 | 0 | 0.20046 | 0 | 0 | 0.18933 | 0 | 0 | 0 | 0 | 0.17395 | 0 | 0 | 0 | 0 | 0.24956
| Marginal Storage ELCC | % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0.73043 | 0.73043 | 0.73043 | 0 | 0.59652 | 0 | 0.59652 | 0 | 0.59652 | 0 | 0 | 0.49563 | 0 | 0 | 0 | 0 | 0.21691 | 0 | 0 | 0 | 0 | 0.06
Need for New Transmission
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| New Transmission for Selected Resources (within CAISO) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 413.93 | 0 | 414.08 | 0 | 690.64 | 0 | 0 | 731.66 | 0 | 0 | 0 | 0 | 1307.28 | 0 | 0 | 0 | 0 | 15309.22
| New Transmission Cost (within CAISO) | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.19e-06 | 1.539e-05 | 1.583e-05 | 1.714e-05 | 2.004e-05 | 0 | 4.3977 | 0 | 4.3984 | 0 | 5.3315 | 0 | 0 | 8.9154 | 0 | 0 | 0 | 0 | 12.8907 | 0 | 0 | 0 | 0 | 304.9404
Total Renewable Resource Summary
| Resource Type | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.18 | 65.32 | 83.44 | 107.44 | 107.44 | 0 | 134.39 | 0 | 134.39 | 0 | 134.39 | 0 | 0 | 134.39 | 0 | 0 | 0 | 0 | 134.39 | 0 | 0 | 0 | 0 | 134.39
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 114 | 114 | 114 | 184 | 0 | 1159.71 | 0 | 1159.71 | 0 | 1159.71 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1521.41
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3074.93 | 6452.19 | 7644.56 | 10874.79 | 10874.79 | 0 | 11271.64 | 0 | 14216.4 | 0 | 17380.28 | 0 | 0 | 26851.92 | 0 | 0 | 0 | 0 | 43591.25 | 0 | 0 | 0 | 0 | 72215.05
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1696.74 | 1718.85 | 2048.7 | 3531.35 | 3531.35 | 0 | 3531.35 | 0 | 3531.35 | 0 | 3531.35 | 0 | 0 | 3531.35 | 0 | 0 | 0 | 0 | 3531.35 | 0 | 0 | 0 | 0 | 5031.27
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0.06 | 0 | 1500.03 | 0 | 1500.03 | 0 | 0 | 1500.03 | 0 | 0 | 0 | 0 | 1970.2 | 0 | 0 | 0 | 0 | 1970.2
| Offshore_Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 195 | 0 | 195.01 | 0 | 1707.57 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08
Fully Deliverable Renewable Resource Summary
| Resource Type | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 114 | 114 | 114 | 184 | 0 | 1159.71 | 0 | 1159.71 | 0 | 1159.71 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1159.71 | 0 | 0 | 0 | 0 | 1159.71
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.09 | 354.78 | 430.67 | 430.67 | 430.67 | 0 | 430.67 | 0 | 430.67 | 0 | 430.67 | 0 | 0 | 430.67 | 0 | 0 | 0 | 0 | 430.67 | 0 | 0 | 0 | 0 | 430.68
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 716.96 | 716.96 | 949.95 | 949.95 | 949.95 | 0 | 949.95 | 0 | 949.95 | 0 | 949.95 | 0 | 0 | 949.95 | 0 | 0 | 0 | 0 | 949.95 | 0 | 0 | 0 | 0 | 949.95
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0.06 | 0 | 1500.03 | 0 | 1500.03 | 0 | 0 | 1500.03 | 0 | 0 | 0 | 0 | 1970.2 | 0 | 0 | 0 | 0 | 1970.2
| Offshore_Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 195 | 0 | 195.01 | 0 | 1707.57 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08 | 0 | 0 | 0 | 0 | 1728.08
Energy Only Renewable Resource Summary
| Resource Type | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 361.7
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2843.84 | 6097.41 | 7213.89 | 10444.12 | 10444.12 | 0 | 10840.97 | 0 | 13785.73 | 0 | 16949.61 | 0 | 0 | 26421.25 | 0 | 0 | 0 | 0 | 43160.58 | 0 | 0 | 0 | 0 | 71784.37
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 979.78 | 1001.89 | 1098.75 | 2581.4 | 2581.4 | 0 | 2581.4 | 0 | 2581.4 | 0 | 2581.4 | 0 | 0 | 2581.4 | 0 | 0 | 0 | 0 | 2581.4 | 0 | 0 | 0 | 0 | 4081.32
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore_Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Weights (for levelization)
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Annual Weights |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.95238 | 0.90703 | 0.86384 | 1.2145 | 0 | 1.4933 | 0 | 1.3545 | 0 | 1.5116 | 0 | 0 | 2.0596 | 0 | 0 | 0 | 0 | 2.0875 | 0 | 0 | 0 | 0 | 5.1017

## EIA 860
2020 Form EIA-860 Data - Schedule 3, 'Generator Data' (Operable Units Only) | [16 empty] | 3911.9
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Technology | Prime Mover | Unit Code | Ownership | Duct Burners | Can Bypass Heat Recovery Steam Generator? | RTO/ISO LMP Node Designation | RTO/ISO Location Designation for Reporting Wholesale Sales Data to FERC | Nameplate Capacity (MW) | Nameplate Power Factor | Summer Capacity (MW) | Winter Capacity (MW) | Minimum Load (MW) | Uprate or Derate Completed During Year | Month Uprate or Derate Completed | Year Uprate or Derate Completed | Status | Synchronized to Transmission Grid | Operating Month | Operating Year | Planned Retirement Month | Planned Retirement Year | Associated with Combined Heat and Power System | Sector Name | Sector | Topping or Bottoming | Energy Source 1 | Energy Source 2 | Energy Source 3 | Energy Source 4 | Energy Source 5 | Energy Source 6 | Startup Source 1 | Startup Source 2 | Startup Source 3 | Startup Source 4 | Solid Fuel Gasification System? | Carbon Capture Technology? | Turbines or Hydrokinetic Buoys | Time from Cold Shutdown to Full Load | Fluidized Bed Technology? | Pulverized Coal Technology? | Stoker Technology? | Other Combustion Technology? | Subcritical Technology? | Supercritical Technology? | Ultrasupercritical Technology? | Planned Net Summer Capacity Uprate (MW) | Planned Net Winter Capacity Uprate (MW) | Planned Uprate Month | Planned Uprate Year | Planned Net Summer Capacity Derate (MW) | Planned Net Winter Capacity Derate (MW) | Planned Derate Month | Planned Derate Year | Planned New Prime Mover | Planned Energy Source 1 | Planned New Nameplate Capacity (MW) | Planned Repower Month | Planned Repower Year | Other Planned Modifications? | Other Modifications Month | Other Modifications Year | Multiple Fuels? | Cofire Fuels? | Switch Between Oil and Natural Gas?
17609 | Southern California Edison Co | 104 | J S Eastwood | CA | Fresno | 1 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 199.8 | 0.9 | 199.8 | 199.8 | 0 | N |  |  | OA | X | 12 | 1987 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 1 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 9 | 1973 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 7 | 1974 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 3 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 7 | 1976 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 4 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 6 | 1977 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 5 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 12 | 1977 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
11208 | Los Angeles Department of Water & Power | 392 | Castaic | CA | Los Angeles | 6 | Hydroelectric Pumped Storage | PS |  | S | X | X | none | none | 271 | 0.943 | 270.5 | 270.5 | 10 | N |  |  | OP | X | 8 | 1978 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [20 empty] | N |  |  | N
3255 | California Dept. of Water Resources | 437 | Edward C Hyatt | CA | Butte | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 97.7 | 0.85 | 112.4 | 122.6 | 97 | N |  |  | OP | X | 11 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 437 | Edward C Hyatt | CA | Butte | 4 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 97.7 | 0.85 | 112.4 | 122.6 | 97 | N |  |  | OP | X | 12 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 437 | Edward C Hyatt | CA | Butte | 6 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 97.7 | 0.85 | 112.4 | 122.6 | 97 | N |  |  | OP | X | 2 | 1969 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 438 | Thermalito | CA | Butte | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 27.5 | 0.9 | 27.5 | 27.3 | 27 | N |  |  | OP | X | 7 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 438 | Thermalito | CA | Butte | 3 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 27.5 | 0.9 | 27.5 | 27.3 | 27 | N |  |  | OP | X | 7 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 438 | Thermalito | CA | Butte | 4 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 27.5 | 0.9 | 27.5 | 27.3 | 27 | N |  |  | OP | X | 2 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 1 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 1 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 2 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 3 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 11 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 4 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 11 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 5 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 2 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
2518 | U S Bureau of Reclamation | 446 | ONeill | CA | Merced | 6 | Hydroelectric Pumped Storage | PS |  | S | X | X |  |  | 4.2 | 1 | 2.4 | 2.4 | 0 | N |  |  | OP | X | 12 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [12 empty] | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 1 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 51 | 51 | 0 | N |  |  | OP | X | 6 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 2 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 3 | 1968 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 3 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 11 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 4 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 9 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 5 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 8 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 6 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 7 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 7 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 5 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
3255 | California Dept. of Water Resources | 448 | W R Gianelli | CA | Merced | 8 | Hydroelectric Pumped Storage | PS |  | J | X | X |  |  | 53 | 0.95 | 50 | 50 | 0 | N |  |  | OP | X | 3 | 1967 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M
14328 | Pacific Gas & Electric Co. | 6100 | Helms Pumped Storage | CA | Fresno | 1 | Hydroelectric Pumped Storage | PS |  | S | X | X | HELMS1_7_B1 | HELMS1_7_B1 | 351 | 0.9 | 404 | 404 | 83 | N |  |  | OS | X | 6 | 1984 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M | [23 empty] | N
14328 | Pacific Gas & Electric Co. | 6100 | Helms Pumped Storage | CA | Fresno | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X | HELMS2_7_B1 | HELMS2_7_B1 | 351 | 0.9 | 404 | 404 | 83 | N |  |  | OP | X | 6 | 1984 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M | [23 empty] | N
14328 | Pacific Gas & Electric Co. | 6100 | Helms Pumped Storage | CA | Fresno | 3 | Hydroelectric Pumped Storage | PS |  | S | X | X | HELMS3_7_B1 | HELMS3_7_B1 | 351 | 0.9 | 404 | 404 | 83 | N |  |  | OP | X | 6 | 1984 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N |  |  | 10M | [23 empty] | N
27075 | San Diego County Water Auth | 57729 | Lake Hodges Hydroelectric Facility | CA | San Diego | 1 | Hydroelectric Pumped Storage | PS |  | S | X | X | LKHODG1 | LKHODG1 | 21 | 1 | 21 | 21 | 0 | N |  |  | OP | X | 8 | 2012 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [23 empty] | N
27075 | San Diego County Water Auth | 57729 | Lake Hodges Hydroelectric Facility | CA | San Diego | 2 | Hydroelectric Pumped Storage | PS |  | S | X | X | LKHODG1 | LKHODG1 | 21 | 1 | 21 | 21 | 0 | N |  |  | OP | X | 8 | 2012 |  |  | N | Electric Utility | 1 | X | WAT | [9 empty] | N | N |  | 10M | [23 empty] | N

## CA BPHC
|  | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
resolve additional pumped storage | Pumped Storage | 0 | 0 | 0 | 0 | 196 | 196 | 196 | 196 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28 | 1000.28
| incremental resolve pumped storage | 0 | 0 | 0 | 0 | 196 | 0 | 0 | 0 | 804 | 0 | 0 | 0 | 0 | 0.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Start year 860 EIA value plus additional values in RESOLVE | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 4107.9 | 4107.9 | 4107.9 | 4107.9 | 4911.9 | 4911.9 | 4911.9 | 4911.9 | 4911.9 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18

## BPHC
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Pumped Storage Capacity (MW) | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 3911.9 | 4107.9 | 4107.9 | 4107.9 | 4107.9 | 4911.9 | 4911.9 | 4911.9 | 4911.9 | 4911.9 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18 | 4912.18